## Sheet1
Matlab Function Name | Folder Path (I mapped the Preclincial share drive to my X:) | Input / Output Variables | Brief Description
data2nifti.m | 'X:\Cleveland_Preclinical\IRS_Projects_TOK\Chase Hall Smart Machine' | [path, ExpMaskFile, LungAmiraVal, ExpImgFile, savefile] / [LungMask, Image] | This function loads in the (.raw file type) an expiratory reconstructed image (128^3 matrix size) and its Amira (.am) mask segmentation file using the [path, ExpMaskFile, and ExpImgFile] inputs. LungAmiraVal is the positive integer value the user assigns the lung mask to (e.g., 2). The lung mask label is converted to a binary mask and is exported out as a NiFTI (.nii file format) along with the imported expiration image and saved with the file name specified by [savefile]. The outputs are the save .nii files of the mask and image that now exist in the [path] folder. This function can be handy for Matlab data files to execute the same thing with some minor edits
bilateralFilterND.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\High Resolution Project\bilateralFilterND' | [unfiltVol, filt_radius, proximity_sigma, intensity_sigma, n_threads] / [filtVol] | This functions performs a bilateral filter to a non-filtered image. A bilateral filter is a non-linear, edge-preserving, and noise-reducing smoothing filter for images. It replaces the intensity of each voxel with a weighted average of intensity values from nearby voxels. [filt_radius and proximity_sigma] are input values based on how big you want the filter and how close voxels are (you will need to see what values work best for the images you have). [intensity_sigma] is the signal intensity deviation between voxels and n_threads is another input variable you can use but I don't believe I used it at all. The output variable is a filtered image. MAKE SURE, that the non-filtered image IS NOT a complex variable, MUST take absolute value to run function
dice_coef.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\JG_DiceScoring_Data' | [autosegEXPfile, autosegINSPfile, autopath, manualpath, filename] / [DiceScore_Exp, DiceScore_Insp] | This was my older version of calculating the Dice coefficient using Jinbang's manually segmented data. autosegEXPfile and autosegINSPfile are the file names of the automatically segmented lung masks using deep-learning. autopath is the path folder containing the mentioned file names. manualpath is the path folder containing the manually segmented masks that I saved as Matlab data files. filename is the save file name for the Dice coefficient output. The calculated Dice scores for both expiration and inspiraition are saved in this file name and saved in the working path folder. This function is probably more seen as for archiving purposes b/c I made it for my data
DiceCoeff.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\JG_DiceScoring_Data' | [path, V1filename, V2filename, savefile] / [DiceScore] | This is my current version of calculating the Dice coefficient in a more systematic and easier way. path is the working folder that you want to calculate the Dice score with, V1filename and V2filename are the string names given to the manually segmented and automatically segmented masks. savefile is the string name to specify the output Matlab data file containing Dice score results (output variable is DiceScore). With this UTD function, it will be cleaner and less confusing to run. The way that I load in both my manual and automatic segmented masks is with the LoadData_Amira.m function. If preferred, masks can be exported as NiFTI files instead and simply imported using the niftiread.m built-in function for Matlab
Bruker_Load.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\FID Load Functions' | [file_name] / [raw_data] | Function made by Zack to load in the raw FID file from a Bruker MRI scan. You can specify the file_name variable or alternative leave the inputs blank and the function will prompt you to select the specific FID file. The output variable, raw_data, is a complex double containing the FID information. raw_data is NOT reshaped to match the number of FID points or total number of radial projections
slider_plot | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\FID Load Functions' | [data_in] / [FID_plots] | This function was a one-off idea for trying to plot all FID points in a single figure. To go between different FID points a slider window button is at the bottom of the figure (much like for imslice.m) by clicking and dragging this button you can scroll through all FID points for troubleshooting measures. The output is a figure called FID_plots that showcases all FID points in the raw FID file
imslice.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\imslice' | [data_in, varargin] / [varargout] | This function will output a figure in Matlab plotting the 3D reconstructed volume of an image. This is done by specifying the input volume variable, data_in, and you can give a string name to the figure window with the varargin input variable. You can plot a single UTE image or even a multi-TE image too; this function can do it all. In order to successfully run imslice.m, you will need to have the other functions: calcImageSlice.m, showImageSlice.m, and Volume.m. I do not know the specifics about these functions besides the fact that they are called by imslice.m
ImageMaker.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code' | [ROI_val, Lung_val, savefile] / [wholelung_signal] | This was one of my older versions for analyzing the SP-C dataset. This function t takes the binary masks of the heart ROI and lung volume (with mask label values specified by ROI_val and Lung_val respectively) and performs matrix multiplication to extract the volume regions. The function then weights the lung volume by the average signal in the heart ROI. This function was handy for the Day 0 lung parenchyma segmenations to determine the mean and standard deviation of the weighted lung parenchyma signal for all mice in this longitudinal study. The output is a Matlab data file with filename specified by the input argument "savefile". The wholelung_signal is the weighted lung volume itself
ImgAnalysis_SPC.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code' | [path, EXPDCM_folder, INSPDCM_folder, EXPTIFF_folder, roi_val, lung_val, savefile] / [ImgResults] | Purpose of this function: to calculate the mean and coefficient of variation of the weighted, whole lung volume. In addition, it will also measure the percentage of high signal volume from segmented lung masks and also the tidal volume from the selected folder path. The folder should contain both the reconstructed image and file(s) from manual/automatic segmentations of the expiratory and inspriatory lung volumes. path is the working directory containing all information and the EXP/INSPDCM_folders are the string names of the folders that contain DICOM (.dcm) files of the exported Amira masks. EXPTIFF_folder contains TIFF (.tif) files of the UTE image. The output variable is a structure variable, "ImgResults", containing all results and data that is saved in the working directory with filename with string name specified by "savefile"
DICOM_Load.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code\Image Maker' | [save_data] / [imag_vol, path, FileNames] | This is a function written by Zack, this function will load in any DICOM (.dcm) files the user selects. You can simply call the DICOM_Load.m without any input arguments and it will prompt you to select the folder that contains the .dcm information. However, you MUST select all .dcm files that are in a folder (shortcut: ctrl + a). The function will then read in all .dcm files that were selected and return an "imag_vol" variable that corresponds to all segmented masks that were exported in one volume variable. The paths and file names are also included as outputs but are not really used.
DICOMLoad.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code\Image Maker' | [path] / [imag_vol, path, FileNames] | This is my own personal rework of DICOM_Load.m, rather than painfully selecting all .dcm files that you want to load in, all you need to do with this rework is specify the fullpath to the location of the DICOM folder containing all information (See my ImgAnalysis_SPC.m code to how I use the input arguments "path", and "EXPDCM_folder or INSPDCM_folder"). So long as you specify the full directory path the function will perform the same as DICOM_Load.m, however, it will instead select and load ALL .dcm files that exist in the DICOM folder automatically. This is not an impressive achivement, but it makes the image analysis more autonomous.
TIFF_Load.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code\Image Maker' | [save_data] / [imag_vol, path, FileNames] | This is a function written by Zack, this function will load in any TIFF (.tif) files the user selects. You can simply call the TIFF_Load.m without any input arguments and it will prompt you to select the folder that contains the .dcm information. However, you MUST select all .dcm files that are in a folder (shortcut: ctrl + a). The function will then read in all .tif files that were selected and return an "imag_vol" variable that corresponds to all segmented masks that were exported in one volume variable. The paths and file names are also included as outputs but are not really used.
TIFFLoad.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code\Image Maker' | [path] / [imag_vol, path, FileNames] | This is my own personal rework of TIFF_Load.m, rather than painfully selecting all .tif files that you want to load in, all you need to do with this rework is specify the fullpath to the location of the DICOM folder containing all information (See my ImgAnalysis_SPC.m code to how I use the input arguments "path", and "EXPTIFF_folder"). So long as you specify the full directory path the function will perform the same as TIFF_Load.m, however, it will instead select and load ALL .tif files that exist in the TIFF folder automatically. This is not an impressive achivement, but it makes the image analysis more autonomous.
LoadData_Amira.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\IRS_BleoMice\MATLAB Code\Protocol Code\Image Maker' | [Pathname] / [Data] | This function reads in the Amira (.am) file that contains all of the mask labels that were segmented with this software. To load in the Amira file, the fullpath to the file itself must be specified to properly work. I would have liked to edit this function slighlty such that the fullpath to the file does not need to be called but rather just the file name itself. The output variable, "Data", is the imported volume containing mask ID labels of ROIs. You will need to change the data type once imported into Matlab. For example, after loading and reading in the .am, call the "Data" variable and change it to a double e.g, Data = LoadData_Amira(Pathname); Data = double(Data);
RetroGatingGenLeadMagnitude.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | This is a script for retrospective gating and not a function | This script is an old version of Jinbang's retrospective gating, please see RetroGate.m for the most current retrospective gating code. When you run this script you must specify the working folder directory for the variable "filename". This path must lead to where the method, FID, traj, and acqp files are located. You can change the gating parameters for expiration/inspiration. Also of note, this script only gates for 1 respiration, not both. At the end, the retrospective gating files are saved as "fid_expiration/inspiation" and "traj_expiration/inspiration" depending on the gating you want to do. after writing out the files you will use the sdc_retro.m script to perform sample density compensation and reconstruct the retrospectively gated image as a .raw file format
RetroGate.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon\IanSteckerRetrospectiveRecon' | [path, savefile] / [RetroGatingOutput] | This is my rework of Jinbang's retrospective gating code. This function will gate for both expiration and inspiration with retrospective gating parameters that are set to a default initial value. Data is read from the method's file using the "read_UTEmethod.m" function. This extracts information like the raw FID, trajectory information, number of radial projections, dwell time, etc. The function will gate using these initial parameters and plot a figure of the retrospective gating output. A dialog box will appear and ask the user if they will accept these results. If yes, the output variable is saved in the specified path directory with all gating information necessary to reconstruct using Peter's reconstruction code package.
read_UTEmethod.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon\IanSteckerRetrospectiveRecon' | [path, zerofilling] / [MethodParams] | As briefly mentioned in RetroGate.m, read_UTEmethod.m loads in and extracts important scan parameter information from the method file. The "zerofilling" input argument determines if you plan on zero padding the FID or not. By zero padding you make the reconstructed image isotropic making the output image look like there are more lung volume slices than there really are. By not zero padding, the reconstructed image has the correct number of anatomical slices of the lung volume and the image is anisotropic. zero padding is ideal for showing off pretty pictures but not for image analysis.
sdc_multiTE.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | This is a script for image reconstruction and not a function | This is Jinbang's sample density compensation script that reconstructs fully-sampled UTE and mulit-TE image datasets. In the past, you would first need to recalculate the trajectories that were exported out by Bruker using the ReadTextData.m script that reads the trajectories from the method file and recalculates them. After getting the recalculated trajectories you would use this function to reconstruct a fully-sampled image. You would specify the path that contains the raw FID and recalculated trajectories and the code would output a .raw image reconstruction of the mouse. This code uses the grid3_multiTE.m function (made by Jinbang) to perform regridding of the radial sampled data
sdc_retro.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | This is a script for image reconstruction and not a function | This is Jinbang's sample density compensation script that reconstructs undersampled, retrospectively gated, datasets. In the past, you would first need to recalculate the trajectories that were exported out by Bruker using the ReadTextData.m script that reads the trajectories from the method file and recalculates them. After getting the recalculated trajectories you would use the RetroGatingGenLeadMagnitude.m to gate for either expiraiton/inspiration and lastly you would use this function to reconstruct an image. You would specify the path that contains the raw, gated, FID and recalculated, gated, trajectories and the code would output a .raw image reconstruction of the mouse. This code uses the grid3_retro.m function (made by Jinbang) to perform regridding of the radial sampled data
ReadTextData.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | This is a script for image reconstruction and not a function | This is Jinbang's script that recalculates the measured trajectories from the method file generated by Bruker. The path to the method file must be specified in order to run properly. It would then save the recalculated trajectories as a different file to be used for either retrospective gating or for direct image reconstruction of fully-sampled data that was collected.
grid3_multiTE.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | [NPoints,NPro,rampoints,fidpoints,LeadingCutPro,EndingCutPro,NPShift,RespMode,realpath,beta,NTE] / N/A | This is Jinbang's regridding function for his reconstruction pipeline. This is typically used for fully-sampled datasets that are UTE or multi-TE. This function is called within his sdc_multiTE.m script to reconstruct an image. Npoints is the number of FID points, NPro is the number of radial projections, fidpoints is the total number of fidpoints (including zero-padding), LeadingCutPro and EndingCutPro are empty variables (used in older versions of code but he never took these out), NPShift is the number of points we shift along the FID (i.e., 20), realpath is the working directory containing all data, beta is set with a default value of 1; he never commented what beta or alpha actually does in his code, NTE is the number of echo times. rampoints is the number of ramp points for trajectory
grid3_retro.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | [NPoints,NPro,rampoints,fidpoints,LeadingCutPro,EndingCutPro,NPShift,RespMode,realpath,beta,NTE] / N/A | This is Jinbang's regridding function for his reconstruction pipeline. This is typically used for fully-sampled datasets that are UTE or multi-TE. This function is called within his sdc_multiTE.m script to reconstruct an image. Npoints is the number of FID points, NPro is the number of radial projections, fidpoints is the total number of fidpoints (including zero-padding), LeadingCutPro and EndingCutPro are empty variables (used in older versions of code but he never took these out), NPShift is the number of points we shift along the FID (i.e., 20), realpath is the working directory containing all data, beta is set with a default value of 1; he never commented what beta or alpha actually does in his code, NTE is the number of echo times. rampoints is the number of ramp points for trajectory
sdc_multiTE_ISJG.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | This is a script for now, but trying to convert it to a function | I was trying to rework Jinbang's image reconstruct to not be a script and rather a function. I also wanted to try and add comments which was very scarce in his code. I don't know how far I got into this one
RetroReconJG.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | [path,retrogate_filename] / [GatingOutput] | This is a rework of Jinbang's sdc_retro.m function, it is no longer a script now. You just need to specify the working folder path and type in the string name for the retrospective gating file and an image reconstruction should occur and write out the image as a .raw file. Not sure how thoroughly commented this is
grid3_retroirs.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\Reconstruction Code\RetroRecon' | [NPoints,NPro,rampoints,fidpoints,LeadingCutPro,EndingCutPro,NPShift,RespMode,realpath,beta,NTE] / N/A | This is a rework of Jinbang's grid3_retro.m I tried making it more simple and adding additional comments.
fitting_datacursormode.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code\T2Fit Data' | [RawDataX,RawDataY,FitVal,FitFunc,FitOpts] / N/A | This is Peter's function that he made to plot both the fitted T2* map and the exponential decay plot from the RawDataY and RawDataX. In the figure that shows the T2* map, you can select a voxel anywhere on the image that has been fitted by the fit function. RawDataX and RawDataY correspond to the TEs and reconstruct image respectively. FitVal is the output T2* map (i.e., image), FitFunc is the equation used to fit the RawDataY to RawDataX. Lastly, FitOpts are the method options that were given to the fit function (e.g., lower and upper bounds, starting point, method (nonlinearleastsquares), etc.).
fittingdisplayfunc.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code\T2Fit Data' | [event_obj,fighandle1,fighandle2,xdata,ydata,FitFunc,FitOpts] | This is part 2 of Peter's fitting_datacursormode.m function that generates the figure display. You will ultimately want to call the fitting_datacursormode.m and specify the input argument variables there. Fitting_datacursormode.m calls the fittingdisplayfunc.m in its code
Proton_Mouse_UTE_Recon_Undersampling.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code\UndersamplingRecon' | [path,percentUnder,savefile] / [Recon] | This is the function that I used to make my undersampling reconstruction data. This is probably an older version of Peter's comprehensive reconstruction code. What I changed in here was that I added an additional variable "percentUnder". This variable can be expressed anywhere from 1-100%. I went in increments of 10% starting at 10% undersampled (i.e., 90% sampled). The function will take the percentage that you want to undersample by, divide by 100, and determine how many radial projections are going to be pseudorandomly removed. I use the built-in Matlab function, randperm(n,k), to generate a vector of randomly generated indices. The "n" argument is the total number of radial projections (i.e., 51,472 for a fully-sampled image) and "k" is the number of unique indices that are to be generated (i.e., the percentage of undersampling I want to be at. e.g., If I want to be 90% sampled, I am want 5,147 unique indices to be removed). After generating the vector, I delete the selected indices in both the FID and trajectory file (e.g., FID(:,loc) = [];). After this step the image reconstruction proceeds as normally to reconstruct an undersampled multi-TE
NoiseOffsetFit.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code' | [MR1, MR2, MR3, MR4, MR5, volume_mask, noisefilename] / [FittingResult] | This is one of my fitting functions when trying to determine which exponential equation method gave the best fit to evaulate for T2*. MR1-MR5 are the individual 5 TEs that I acquired with my multiTE sequence that I used. Volume_mask is the binary mask that you want to fit to obtain T2* and S(0) maps (e.g., lung, heart, any segmented ROI, etc.). This function requires you to have a separate segmentation file (I did this in ITK-Snap and saved as a .nii [NiFTI] file), this segmentation must contain a binary mask of the image background noise. Before the data is fit to a mono-exponential equation, the signal of all voxels in the ROI to be fit is subtracted by the mean signal of the noise (at each TE). The fitting result is saved as a Matlab data file
OriginalFit.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code' | [MR1, MR2, MR3, MR4, MR5, volume_mask] / [FittingResult] | This is one of my fitting functions when trying to determine which exponential equation method gave the best fit to evaulate for T2*. MR1-MR5 are the individual 5 TEs that I acquired with my multiTE sequence that I used. Volume_mask is the binary mask that you want to fit to obtain T2* and S(0) maps (e.g., lung, heart, any segmented ROI, etc.). The multiTE data is fit with a mono-exponential equation with no prerequisite steps. The fitting result is saved as a Matlab data file
Param3Fit.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code' | [MR1, MR2, MR3, MR4, MR5, volume_mask] / [FittingResult] | This is one of my fitting functions when trying to determine which exponential equation method gave the best fit to evaulate for T2*. MR1-MR5 are the individual 5 TEs that I acquired with my multiTE sequence that I used. Volume_mask is the binary mask that you want to fit to obtain T2* and S(0) maps (e.g., lung, heart, any segmented ROI, etc.). The multiTE data is fit with a mono-exponential equation that is modified to have an additional 3rd parameter coefficient (C). This additional coefficient is to compensate for the noise of each individual voxel and yields the best fit for acquiring T2* maps. The fitting result is saved as a Matlab data file
t2starfit_fullysampled.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code' | [path, datafilename, amirafilename, noisefilename, savefile] / [FullySampledFitResults] | This is one of my analysis fitting functions that I execute for all of my fully-sampled images in my research project. This function calls each fitting algorithm (NoiseOffsetFit, OriginalFit, and Param3Fit). I only use this on my fully-sampled datasets because I wanted to determine what was the best algorithm to use on my undersampled datasets. Though, this function can be used on undersampled reconstructions too. "datafilename" refers to the Matlab data file of the multiTE image reconstruction from Peter's recon pipeline, "amirafilename" refers to the Amira segmented masks that are saved as Matlab data files, "noisefilename" refers to the NiFTI file of the noise mask segmentation in ITK-Snap (I forgot to make one in Amira I believe), savefile is the string name you wish to call your fitting results which is saved in the working path folder.
t2starfit_undersampled.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\UnderSampling_ImageResults\MATLAB Code\Protocol Code' | [fullsamplepath, fullsamplefile, undersamplepath, undersamplefile, savefile] / [UnderSampledFitResults] | This is the other analysis fitting function that I use for my undersampling research project. This function only calls the Param3Fit to do T2* and S(0) mapping because it is the best function to estimate for T2*. "fullsamplepath" is the folder path that contains the fully-sampled fitting results, "fullsamplefile" is the file name of the fitting results output. I load in the fully-sampled results because I wish to use the same volume_mask (i.e., lung parenchyma binary mask) for each iteration of undersampling. I do this because I used my baseline threshold calculated from my SP-C project on my fully-sampled images. For undersampled images, the signal intensities are different compared to the 100% sampled data and so this would create different lung parenchyma masks for each level of undersampling which would lead to inconsistencies. "undersamplepath" is the folder path containing undersampled data labeled by "undersamplefile". The "UnderSampledFitResults" are saved in the undersampled path folder with ID name designated by "savefile"
phantom3d_IRS.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\Multi_TE_UTE_3D_Simulation_Package' | [phantomID, MatrixSize] / [MyPhantom] | This is a function Abood gave to me for my phantom simulation work. I cloned and made revisions to it by adding 2 of my own phantoms that now exist in this function. You can easily make your own phantom with this function (I copied and pasted pre-existing shepp-logan parameters and resized and repositioned all ellipsoids). My 2 phantoms are called 'irs-fakemouse', and 'irs-undersampling1'. There are other phantoms like 'modified-shepp-logan', 'shepp-logan', and 'yu-ye-wang'. To pick a phantom you would call any of these models listed above and use that for the "phantomID" input variable. You would then specify the matrix size that you want your phantom (i.e., MyPhantom) to be. If you use either of my phantoms be sure to flip the image [e.g., MyPhantom = flip(phantom3d_IRS('irs-fakemouse', 128)); ]. This gets the phantom in the correct orientation to look like a mouse image
NewPhantom_MultiTE_FastSim_GenImg_MultiT2_07242020.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\Multi_TE_UTE_3D_Simulation_Package' | This is a script, not a function | This is my phantom simulation script that resamples a phantom to mimic radial like acquistion for real data. I use a single T2* in my lobes that resemble lung parenchyma and I give a separate T2* for the vasculature. Instead of performing 3D interpolation, we round the FID and trajectory to the nearest gridpoint. Interpolation take far too long to do (over 12 hours for a single simulation) and this drastically reduces time down to an hour for a fully-sampled 128^3 phantom image. Another important thing with this script is we double the prescribed matrix size for sampling to help improve image resolution. After the radial resampled image is recontructed with added T2* signal decay, the phantom is fit with my Param3Fit function and the SNR of the fake lung parenchyma is calculated. See below this function form of this script
FastMultiTESim.m | X:\Cleveland_Preclinical\IRS_Projects_TOK\MouseLungDensity_IS\Multi_TE_UTE_3D_Simulation_Package' | [ImSize, SampPct_all, savefile] / [SimulationOutput] | This is the function form of my simulation script. "ImSize" is the matrix size of the phantom that you want to use, "SampPct_all" is the sampling percentage you want the phantom to be at (i.e., 90%, 80%, 10%, etc.) and "savefile" is the string name of the file that is saved in the same folder as this function. This is a copy and paste of the script above that performs all of the same routines.